C/users/jt/a-climax/guassian-out/dinitronaphthalene paper.doc

Comment on:

Spec. Acta A72 (2009) 941 – 946

‘FTIR, FT-Raman, scaled quantum chemical studies of the structure and vibrational spectra of 1,5-dinitronaphthalene’

M. Arivazhaga, V. Krishnakumar, R. John Xavier, G. Llango and V. Balachandran

By

John TOMKINSON

Science and Technology Facilities Council

The Harwell Campus

Rutherford Appleton Laboratory

OX 11  0 QX,

U.K.

john.tomkinson@stfc.ac.uk

tel: 00 44  (0)  1235 44 66 86

Abstract.

The title paper [1] reports ab-initio calculations of the structure and molecular vibrations of 1,5-dinitronaphthalene. The calculations are unminimised, the molecular structure is wrong and the vibrational spectra are misinterpreted. These errors have been corrected and the vibrational spectra of 1,5-dinitronaphthalene have been reassigned in agreement with the optical and  neutron spectroscopic data.

The title paper [1] reports ab-initio calculations of the structure of 1,5-dinitronaphthalene (DNN), the same calculations are also used to analyse its vibrational spectra. The calculations are unminimised, the molecular structure is wrong and the vibrational spectra are misinterpreted.

The crystal structure of DNN was determined some fifty years ago by diffraction methods [2]. The space group is P21/a – C2h5 and there are two molecules to the unit cell; the molecule is flat except that the nitro groups are rotated 49° out of the plane. The molecule is, nevertheless, centro-symmetric with a Ci point group [2]. The ab-initio calculation of DNN in a Cs configuration, as was done in [1], was inappropriate.

The structure of DNN was recalculated for both the correct, Ci, and the incorrect, Cs, initial geometries. These were GUASSIAN03 [3, 4] DFT calculations, under B3LYP with the 6-31G* basis, as used in [1]. The minimum Ci energy obtained was -794.6665039 au, significantly less than that previously reported (-794.609250 au [1]). Moreover, the initial Cs geometry minimised to a C2h symmetry (-794.66493981 au) but with imaginary frequencies for the nitro-group torsions. This is somewhat at variance with the results given in [1], which reported an unbelievably regular molecular structure very close to C2h symmetry. Some important interatomic distances and angles for the Ci symmetry are given in Table 1 and compared with the experimental values and results from [1].

That the local geometry of DNN in its lattice is centro-symmetric is also clearly seen from a comparison of the FTIR and Raman data [1], where there are few coincidences. We have augmented the optical data with a recently obtained neutron spectrum, see Fig. 1. Vibrational spectroscopy with neutrons is a well established technique that is particularly sensitive to the motions of the hydrogen atoms as they are displaced during vibration [5]. The spectra were obtained, at 20K, from 3g of DNN (Sigma-Aldrich) on TOSCA (at the ISIS Facility, Science and Technology Facilities Council, The Harwell Campus, The Rutherford Appleton Laboratory, UK). This is a broad range, high resolution neutron spectrometer that has been described elsewhere [6]. The sample was recrystalised from the melt in an attempt to produce an alignment of the molecular plane normal to the incident neutron momentum vector, Q. Had this been successful the in-plane vibrations would have been suppressed and the out-of-plane vibrations alone would have been active [5]. Unfortunately, however, this failed and the sample showed only slight preferential alignment (as is evidenced by the relative weakness of the in-plane transitions occurring above 1000 cm-1, see Fig. 1). The output from GUASSIAN03 calculations was visualised using ACLIMAX [7], which enabled a direct comparison of the calculated and observed neutron spectrum. The technique of individually scaling transitions in the calculated spectrum to those observed has been described elsewhere [8] and its application to this spectrum was straightforward. The assignments generated by this technique agreed with the optical results and gave a good fit of the calculated spectrum to the neutron data, see Fig.1. The low frequency region showed clear evidence of Davidov splitting. Above about 1200 cm-1 the fundamental transitions became difficult to assign in the neutron spectrum and, in this region, reliance was placed on the optical data [1]. The values of the transition energies, as calculated in GUASSIAN, as scaled and as compared to the optical data, are shown in Table 2.

In conclusion, the errors of the title paper have been corrected, appropriate ab-initio calculations were performed and the vibrational spectra of 1,5-dinitronaphthalene have been reassigned in agreement with the optical and  neutron spectroscopic data.

Table 1

Comparison of the calculated and observed interatomic distances (Å) and angles (°).

| Bonda , angles | Experimental, Ci, | This calculation, Ci | Title paper [1], Cs |
| --- | --- | --- | --- |
| a (4, 3) | 1.370 | 1.3816 | 1.401 |
| b (4, 10) | 1.426 | 1.4260 | 1.401 |
| c (2, 3) | 1.414 | 1.4083 | 1.401 |
| d (9,10) | 1.423 | 1.4489 | 1.401 |
| C-N | 1.486 | 1.4685 | 1.470 |
| N-O | 1.208 | 1.2677 | 1.360 |
| CCN | 121 & 114 | 121.96 & 115.48 | 120.0 & 120.0 |
| NO2 out of plane dihedral | 49 | 31.11 | 0.0 |

a; the bond labels (a, b, c and d) refer to Table 4 of [2] and the numbers in parenthesis to Fig 1 of [1].

Table 2.

Assignment of the vibrational spectra of 1,5-dinitronaphthalene, cm-1.

Those transitions calculated to be strong in the ir are given in bold.

| Mode | Optical spectra [1] |  | This work |
| --- | --- | --- | --- |
| number | observed | observed |  | Calculated | Neutron |
|  | FTIR | Raman |  | spectrum | Spectruma |
| Ag |  |  |  |  |  |
| 1 |  | 3084 |  | 3275 |  |
| 2 |  | 3064 |  | 3254 | ca 3100 |
| 3 |  |  |  | 3226 |  |
| 4 |  | 1567 |  | 1672 | 1567 |
| 5 |  | 1532 |  | 1615 | 1500 |
| 6 |  | 1459 |  | 1518 | 1459 |
| 7 |  | 1420 |  | 1487 | 1420 |
| 8 |  | 1352 |  | 1413 | 1352 |
| 9 |  | 1280 |  | 1391 | 1280 |
| 10 |  |  |  | 1266 | 1201 |
| 11 |  |  |  | 1250 | 1174 |
| 12 |  | 1188 |  | 1223 | 1193 |
| 13 |  | 1097 |  | 1142 | 1096 |
| 14 |  |  |  | 1075 | 1020 |
| 15 |  | 992 |  | 1042 | 983 |
| 16 |  |  |  | 986 | 916 |
|  |  | 958 |  |  |  |
| 17 |  |  |  | 878 | 833 |
| 18 |  | 825 |  | 866 | 822 |
|  |  | 803 |  |  |  |
| 19 |  |  |  | 775 | 735 |
| 20 |  | 729 |  | 753 | 723 |
| 21 |  | 691 |  | 723 | 703 |
|  |  | 660b |  |  |  |
|  |  | 622 |  |  |  |
|  |  | 618 |  |  |  |
| 22 |  | 601 |  | 611 | 601 |
|  |  | 594 |  |  |  |
|  |  | 568 |  |  |  |
| 23 |  | 540 |  | 563 | 543 |
|  |  | 480 |  |  |  |
| 24 |  | 458 |  | 486 | 461 |
| 25 |  |  |  | 476 | 452 |
| 26 |  | --- |  | 379 | 350 |
| 27 |  | --- |  | 341 | 328 |
| 28 |  |  |  | 243 | 228 |
| 29 |  | 156 |  | 151 | 170 |
| 30 |  |  |  | 62 | 79 |
| Au |  |  |  |  |  |
| 31 | 3100 |  |  | 3276 |  |
| 32 | 3050 |  |  | 3254 | ca 3100 |
| 33 | 2992 |  |  | 3226 |  |
|  | 2988 |  |  |  |  |
|  | 1684 |  |  |  |  |
|  | 1605 |  |  |  |  |
| 34 | 1590 |  |  | 1646 | 1590 |
| 35 | 1519 |  |  | 1562 | 1519 |
| 36 | 1490 |  |  | 1450 | 1490 |
| 37 | 1475 |  |  | 1435 | 1475 |
| 38 | 1347 |  |  | 1402 | 1347 |
|  | 1297 |  |  |  |  |
|  | 1256 |  |  |  |  |
| 39 | 1231 |  |  | 1293 | 1227 |
| 40 | 1208 |  |  | 1257 | 1193 |
| 41 |  |  |  | 1245 | 1208 |
|  | 1148 |  |  |  |  |
| 42 | 1170 |  |  | 1210 | 1176 |
|  | 1038 |  |  |  |  |
|  | 1017 |  |  |  |  |
| 43 | 1050 |  |  | 1109 | 1067 |
| 44 | 982 |  |  | 1044 | 983 |
| 45 | 890 |  |  | 992 | 916 |
| 46 |  |  |  | 869 | 826 |
| 47 | 791 |  |  | 836 | 796 |
| 48 | 752 |  |  | 817 | 754 |
| 49 | 715 |  |  | 768 | 715 |
| 50 | 648 |  |  | 714 | 653 |
|  | 624 |  |  |  |  |
| 51 |  |  |  | 647 | 580 |
| 52 | 571 |  |  | 594 | 572 |
|  | 530 |  |  |  |  |
| 53 | 471b |  |  | 517 | 477 |
|  | 436 |  |  |  |  |
| 54 | 393 |  |  | 409 | 400 |
| 55 | 365 |  |  | 384 | 373 |
| 56 |  |  |  | 234 | 233 |
|  |  |  |  |  | 220 |
| 57 | 187 |  |  | 198 | 196 |
| 58 | 167 |  |  | 178 | 153 |
|  |  |  |  |  | 113 |
| 59 |  |  |  | 53 | 83 |
| 60 |  |  |  | 48 | 77 |

a; the calculated transitions as individually scaled, after [8].

b; the 660 cm-1 Raman band was ‘very strong’ [1] in their table but appears weak in the spectrum and the 471 cm-1 FTIR band was ‘very weak’ in their table but appears strong.

Figure Caption

Fig. 1

The observed neutron spectrum of 1,5-dinitronaphthalene, red trace, compared to the calculated spectrum as presented in the text, black trace.

References

1. M. Arivazhaga, V. Krishnakumar, R. John Xavier, G. Llango and V. Balachandran;

Spec. Acta A72 (2009) 941 – 946

2. James Trotter; Acta Cryst 13 (1960) 95 – 99

3. GUASSIAN98 was used in [1].

4. Gaussian 03, Revision B.05,

M. J. Frisch, G. W. Trucks, H. B. Schlegel, G. E. Scuseria, M. A. Robb, J. R. Cheeseman, J. A. Montgomery, Jr., T. Vreven, K. N. Kudin, J. C. Burant, J. M. Millam, S. S. Iyengar, J. Tomasi, V. Barone, B. Mennucci, M. Cossi, G. Scalmani, N. Rega, G. A. Petersson, H. Nakatsuji, M. Hada, M. Ehara, K. Toyota, R. Fukuda, J. Hasegawa, M. Ishida, T. Nakajima, Y. Honda, O. Kitao, H. Nakai, M. Klene, X. Li, J. E. Knox, H. P. Hratchian, J. B. Cross, C. Adamo, J. Jaramillo, R. Gomperts, R. E. Stratmann, O. Yazyev, A. J. Austin, R. Cammi, C. Pomelli, J. W. Ochterski, P. Y. Ayala, K. Morokuma, G. A. Voth, P. Salvador, J. J. Dannenberg, V. G. Zakrzewski, S. Dapprich, A. D. Daniels, M. C. Strain, O. Farkas, D. K. Malick, A. D. Rabuck, K. Raghavachari, J. B. Foresman, J. V. Ortiz, Q. Cui, A. G. Baboul, S. Clifford, J. Cioslowski, B. B. Stefanov, G. Liu, A. Liashenko, P. Piskorz, I. Komaromi, R. L. Martin, D. J. Fox, T. Keith, M. A. Al-Laham, C. Y. Peng, A. Nanayakkara, M. Challacombe, P. M. W. Gill, B. Johnson, W. Chen, M. W. Wong, C. Gonzalez, and J. A. Pople,

Gaussian, Inc., Pittsburgh PA, 2003.

5. P.C.H. Mitchell, S.F. Parker, A.J. Ramirez-Cuesta, and J. Tomkinson; ‘Vibrational Spectroscopy with Neutrons’, World Scientific Press, Singapore, 2005.

6. D. Colognesi, M. Celli, F. Cilloco, R.J. Newport, S.F. Parker, V. Rossi-Albertini, F. Sacchetti, J. Tomkinson and M. Zoppi, Appl. Phys. A 74 [Suppl.] (2002) S64–S66. also: http://www.isis.rl.ac.uk/molecularSpectroscopy/tosca/index.htm

7. A.J. Ramirez-Cuesta.; Comput. Phys. Comm., 157 (2004), 226-238

8. J. Tomkinson, M. Bacci, M. Picollo, and D. Colognesi. Vibrational Spec 50 (2009)  268-276